Wavefront Sensor Data can be downloaded from

https://ark.fc.ul.pt/s/f8gzLJC7sGfkebM

Lens has the following characteristics:

https://www.edmundoptics.com/p/46-x-46mm-lenslet-array-4-x-3mm-lenslets-/17844/

|  | X | Y |
| --- | --- | --- |
| Lens | 13 | 10 |
| Pitch (mm) | 3.005 | 4.006 |
| Total Lens dimension (mm) | 39.065 | 40.060 |
| Total Spots dimension with reference (mm) | 36.060 | 36.054 |
| Focal length (mm) | 38.4 |  |