## Slide 1: Sizing of wind generators for the Island project
Work performed by:
Miguel da Fonte nº49724
José Grosso nº49921
Ricardo Duarte nº49915

## Slide 2: Introduction
Fig 1:Isolated island, with 50,000 inhabitants.
Temperature
Wind

## Slide 3: Objectives
€/ kWh
kWh/ m²
The Technology
The Impacts

## Slide 4: Impacts
Environmental
Economics
Social

## Slide 5: Wind Turbines
Advantages
Disadvantages

## Slide 6: turbine occupation area
10xD
10xD
5xD
5xD
Fig 2: Agricultural activities in wind farms

## Slide 7: Data Provided
Area of the Island [square km] | Population | People [square km²]
500 | 50000 | 100
Wind Speed |  | 
 | onshore | offshore
Max | 24,4 | 29,3
Min | 0,0 | 0,0
Average | 7,3 | 8,8

## Slide 8: Power Density
Island Area (km2) | Length of each side of the island (m) | Horizontal Distance between turbines (m) | Vertical distance between turbines (m) | Maximum number of turbines (onshore) | Maximum number of turbines (offshore) | Power Density (onshore) [kW/m2] | Power Density (offshore) [kW/m2]
500 | 22360 | 450 | 900 | 75 | 99 | 0,298 | 0,398

## Slide 9: h=10 [M] correction
Typical values ​​of z0 [Hassan] |  |  | 
Terrain type | z0(m) min | z0(m) max | z0(m) av
Open Field | 2,00E-02 | 3,00E-02 | 2,50E-02

## Slide 10
Chart: Monthly Average wind speed (h=10m)

## Slide 11: The turbine
Model:
Gamesa G90 2 MW
Rotor Diameter:
90.0 m
Swept area: 6,362.0 m²
Hub Height (m):
78-90- 100
Power Production:
11 374 MWh/year
Fig 3: Model G90 2 MW

## Slide 12
Chart: Wind speed [m/s]
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42
 | 0 | 0 | 0 | 22 | 85 | 110 | 350 | 600 | 900 | 1274 | 1533 | 1863 | 1960 | 1990 | 1998 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 13: Results
Final Results (Occupation~25%) |  |  |  | 
 | Number of turbines | Power (kW) | Annual energy (GWh) | Cost (€/kWh)
Onshore | 18 | 36000 | 196,45 | 0,0540
Offshore | 24 | 48000 | 281,28 | 0,1006
Total | 42 | 84000 | 477,72 | 0,0814