## Portugues
Folha de cálculo da análise económica
CUSTOS DE INVESTMENTO (€) | ano -2 | ano -1 | ano 1 | …. | …. | …. | ano 25 | …. | ano 35 | TIR (%)
1 - Estudos e projetos (3% de c.civil; 2/3 ano -2 + 1/3 ano -1) | [10 empty] | Taxa de atualização
[11 empty] | 4% | 5% | 6%
2 - Fiscalização (5% de c.civil; 1/3 ano -2 + 2/3 ano -1) | [9 empty] | VAL (Euro)
B/C (-)
3 - Construção civil, c.civil (30% ano -2 + 70% ano -1) | [9 empty] | Factor de atualização
3.1 - Açude e órgãos anexos | [9 empty] | Periodo de recuperação (anos)
3.2 - Canal (l = ****) | [9 empty] | ano | CASH-FLOW ACUMULADO DESCONTADO (€)
3.3 - Câmara de carga e de válvulas
3.4 - Conduta forçada (l=****; 350 euro/m) | [9 empty] | -2
3.5 - Central hidroelétrica (25% do total) | [9 empty] | -1
3.6 - TOTAL PARCIAL | [9 empty] | 1
2
4 - Equipmento, equi (20% ano -2 + 80% ano -1) | [9 empty] | 3
4.1 - Açude e órgãos anexos (10% c.civil) | [6 empty] | 25% do custo toatl do equipamento |  |  | 4
4.2 - Canal (l=****; 2.5% c.civil) | [9 empty] | 5
4.3 - Câmara de carga e de válvulas (25% c.civil) | [9 empty] | 6
4.4 - Conduta forçada (l = ****) | [9 empty] | 7
4.5 - Central hidroelétrica (75% do total) | [9 empty] | 8
4.6 - TOTAL PARCIAL | [9 empty] | 9
10
5 - Ligação à rede elétrica nacional (70 €/m) | -- | [8 empty] | 11
12
6 - Estaleiro, desvio provisório, imprevistos e acessos (20.0% c.civil; 70% ano -2 + 30% ano -1) | [9 empty] | 13
14
15
TOTAL DOS CUSTOS DE INVESTMENTO | [9 empty] | 16
17
CUSTOS DE EXPLORAÇÃO (€/ano) | ano -2 | ano -1 | ano 1 | …. | …. | …. | ano 25 | …. | ano 35 | 18
19
1 - Operação e manutenção | [9 empty] | 20
1.1 - Custos de operação |  |  | 17220 | ... | ... | ... | 17220 | ... | 17220 | 21
1.2 - Manutenção das obras de construção civil (0.5% c.civil) |  |  |  | ... | ... | ... |  | ... |  | 22
1.3 - Manutenção dos equipamentos (2.5% equi) |  |  |  | ... | ... | ... |  | ... |  | 23 |  |  |  | 820
2 - Custos administrativos (2500 euros/MW) |  |  |  | ... | ... | ... |  | ... |  | 24 |  |  |  | 1230
[10 empty] | 25 |  |  |  | 17220
TOTAL DOS CUSTOS DE EXPLORAÇÃO | [9 empty] | 26
27
RECEITA | ano -2 | ano -1 | ano 1 | …. | …. | …. | ano 25 | …. | ano 35 | 28
29
1 - Produção de energia | [9 empty] | 30
1.1 - Produção de energia annual média (GWh) |  |  |  | .... | .... | .... |  | .... |  | 31
1.2 - Preço unitário (€/kWh) |  |  | 0.072 | .... | .... | .... | 0.072 | .... | 0.072 | 32
1.3 - Receita annual média (€/ano) |  |  |  | .... | .... | .... |  | .... |  | 33
34
35

## Ingles
Economic analysis computation sheet
INVESTMENT COST (€) | YEAR -2 | YEAR -1 | YEAR 1 | …. | …. | …. | YEAR 25 | …. | YEAR 35 | IRT (%)
1 - Studies and design (3% of civil c.; 2/3 year -2 + 1/3 year -1) | [10 empty] | Discount rate
[11 empty] | 5% | 6% | 7%
2 - Site supervision (5% of civil c.; 1/3 year -2 + 2/3 year -1) | [9 empty] | NPV (€)
B/C (-)
3 - Civil construction, civil c. (30% year -2 + 70% year -1) | [9 empty] | Axiliary ("actualization" factor)
3.1 - Weir and related components | [9 empty] | Payback period (year)
3.2 - Canal (l = ****) | [9 empty] | Year | CUMULATIVE DISCOUNTED CASH-FLOW (€)
3.3 - Surge tank/forebay and valve chamber
3.4 - Penstock (l=****; 350 euro/m) | [9 empty] | -2
3.5 - Powerhouse (25% of total) | [9 empty] | -1
3.6 - PARTIAL COST | [9 empty] | 1
2
4 - Equipment, equi (20% year -2 + 80% year -1) | [9 empty] | 3
4.1 - Weir and related components (10% civil c.) | [6 empty] | 25% of the equipment cost |  |  | 4
4.2 - Canal (l=****; 2.5% civil c.) | [9 empty] | 5
4.3 - Surge tank/forebay and valve chamber (25% civil c.) | [9 empty] | 6
4.4 - Penstock (l = ****) | [9 empty] | 7
4.5 - Powerhouse (75% of total) | [9 empty] | 8
4.6 - PARTIAL COST | [9 empty] | 9
10
5 - Interconnection to the national grid (70 €/m) | -- | [8 empty] | 11
12
6 - Building site, coffer dam, unforseen and roads (20.0% civil c.; 70% ano -2 + 30% ano -1) | [9 empty] | 13
14
15
TOTAL OF THE INVESTMENT COSTS | [9 empty] | 16
17
EXPLOITATION COSTS (€/year) | YEAR -2 | YEAR -1 | YEAR 1 | …. | …. | …. | YEAR 25 | …. | YEAR 35 | 18
19
1 - Operation and maintenance | [9 empty] | 20
1.1 - Operation costs |  |  | 14000 | ... | ... | ... | 14000 | ... | 14000 | 21
1.2 - Maintenance of the civil works (0.5% civil c.) |  |  |  | ... | ... | ... |  | ... |  | 22
1.3 - Maintenance of the equipment (2.5% equi) |  |  |  | ... | ... | ... |  | ... |  | 23
2 - Administrativ costs (2500 euros/MW) |  |  |  | ... | ... | ... |  | ... |  | 24
[8 empty] | ... |  | 25
TOTAL OF THE EXPLOIATATION COSTS | [9 empty] | 26
27
INCOME | YEAR -2 | YEAR -1 | YEAR 1 | …. | …. | …. | YEAR 25 | …. | YEAR 35 | 28
29
1 - Energy production | [9 empty] | 30
1.1 - Mean annual energy production (GWh) |  |  |  | .... | .... | .... |  | .... |  | 31
1.2 - Sale unit cost (€/kWh) |  |  | 0.07 | .... | .... | .... | 0.07 | .... | 0.07 | 32
1.3 - Mean annual income (€/year) |  |  |  | .... | .... | .... |  | .... |  | 33
34
35