## Slide 1: Energy systems
Miguel C Brito

## Slide 2
Class | Topics | Deliverables
1 | Energy Supply. | 
2 | Tutorial work | Biblio revision
3 | Students’ presentations (1). | PPT1 & DOC1
4 | Students’ presentations (2). | 
5 | Energy demand. | DOC1_final
6 | Tutorial work | Biblio revision
7 | Students’ presentations | PPT2 & DOC2
8 | Energy storage and transmission | 
9 | Students’ presentations | PPT3 & DOC3
10 | Energy system | 
11 | Tutorial work | 
12 | Students’ presentations | PPT4 & DOC4

## Slide 3
Application | Details | Questions
Mobility | Individual and public transport using EV and biofuel cars | kWh/year
 |  | kWh(t)*
Electricity | Load diagram and instruments for energy demand management | 
Heat | Shower hot water | 
 | Thermal comfort | 

## Slide 4
Objectives:
Estimate demand (kWh and kWh/person)
Demand elasticity for different mobility scenarios
Effect of electrification of transports
Mobility
Individual transport
How much energy does a person need for transport?
20 km/person/day
10 litres/100km
10kWh/litre
How much embodied energy
in a car?
25k€
0.05 €/kWh
10 years

## Slide 5
Objectives:
Estimate demand (kWh and kWh/person)
Demand elasticity for different mobility scenarios
Effect of electrification of transports
Mobility
Public transport
How much energy does a person need for transport?
20 km/person/day
40 litres/100km
10kWh/litre
30 passengers
Usually presented as kWh/100 p-km
Underground?
Trolley/tram?
Bicycle?

## Slide 6
Objectives:
Estimate demand (kWh and kWh/person)
Demand elasticity for different mobility scenarios
Effect of electrification of transports
TRANSPORTES
Further questions (1)
if we replace individual cars by electric vehicles, what is the increment to the daily electricity load? (kWh/day/person)
Assume 10, 50 and 100% replacement
Eletric vehicles electricity demand, cost and battery capacity and lifetime.

## Slide 7
Objectives:
Estimate demand (kWh and kWh/person)
Demand elasticity for different mobility scenarios
Effect of electrification of transports
TRANSPORTES
Further questions (2)
using biofuels, how much land is required for 10, 50 and 100% of penentration of EV?

## Slide 8
Objectives:
Estimate demand for hot water and thermal comfort (kWh and kWh/person)
Effect of electrification of heat production
Heat
Hot water
60 litres @ 45ºC /day/person
Calculate and discuss
electricity/biogas/heat from CHP
demand to complement solar thermal.

## Slide 9
Objectives:
Estimate demand for hot water and thermal comfort (kWh and kWh/person)
Effect of electrification of heat production
Heat
Thermal comfort
Each house 2x10x10 m3.
Q=A ∆T/R
(average R-value 2 m2K/W)
+ ventilation: 1 renovation per hour
COP = 3
Degrees-hour from Temperature time series

## Slide 10
Objectives:
Estimate demand for hot water and thermal comfort (kWh and kWh/person)
Effect of electrification of heat production
Heat
Thermal comfort
Electricity demand: 100 units of energy today:
50% gas + 25% electric Joule (COP=1) + 25% electric AC (COP=3)
Replacing all heating/cooling by heat pumps (COP = 3),
0% gas + 0% electric Joule (COP=1) + 100% electric AC (COP=3)

## Slide 11
Objectives:
1) Estimate the load diagram
2) Identifity and discuss electricity demand sectors
2) Elasticity of electricity demand
Electricity
Load diagram
Annual e weekly, for typical weeks
REN/EDIA
- Correct for population and island (e.g. Madeira & Açores)
Calculate:
Energy (MWh), Average power (MW), Peak power (MW), Capacity factor

## Slide 12
Main electricity usage
Annual estimates only
How much electricity for heat production (talk to the ‘heat’ group)
Residencial night demand (2 lamps x 3 hours+ ½ TVh/person x ½ population)?
Public lighting
Industry and services (ERSE?)
Objectives:
1) Estimate the load diagram
2) Identifity and discuss electricity demand sectors
2) Elasticity of electricity demand
Electricity

## Slide 13
Electricity demand management
Pricing (10% reduction at all times)
Daylight saving (explain, probably already included in load diagram)
Variable pricing (10% peak demand shifts to more favourable times)
Demand response (discuss; can only be modelled when we know the production)
Objectives:
1) Estimate the load diagram
2) Identifity and discuss electricity demand sectors
2) Elasticity of electricity demand
Electricity

## Slide 14
NEXT CLASS
Bibliographic search
Preliminary analysis
Interaction between groups (e.g. biofuels & mobility, heat and demand, etc)